## Cover page
Sheet | Description
External sources | Lists all external sources stated in SBG
TYNDP Data files | Lists all for download available Data files of the TYNDP 2022
National Trends | Includes data that is mentioned as relevant for the scenario National Trends in the SBG
Cop21 | Includes data that is mentioned as relevant for the scenario Cop21 scenarios in the SBG
Prices and Costs | Includes prices and costs data for all scenarios that are mentioned in SBG
Trapunta | Describes the mentioned data in SBG of the Trapunta Tool
Ambition Tool | Describes the mentioned data in SBG of the Ambition Tool
STEERS addition | List of all additional data needed for the STEERS methodology
Column | Options | Description
Key | individual | unique identifier for the data point: individual because there are no option categories and every option is individual; empty cells do not have a key because it is not needed to be referenced anywhere
Name | individual | describes data point: individual name
Unit | individual | unit of the datapoint: all individual units are not listed here
| collection | datapoint has multiple units
Value | open | data is open
| closed | data could not be found; unclear if it means that the same data as in TYNDP 2020 is used
| individual numerical value | individual numerical value
| unlear | see in comment for reason why unclear
Scenario | All | applicable to all scenarios
| NT | applicable to only this scenario
| Cop21 | applicable to only this scenario
| DE | applicable to only this scenario
| GA | applicable to only this scenario
Type | collection | multiple values that are collected under this datapoint, e.g. for several years
| time series | data is a time series
| float | data is a single numerical value
Data Format | xlsx | Excel file
| Table | Listed in Table in SBG
| Text | Mentioned in Text of SBG
| Figure | Presented in a Figure in SBG
| png | .png file
Tool | Dispatch model | -
| Supply Tool | -
| Dispatch (and Expansion) model | -
| Trapunta | -
| Ambition Tool | -
| Electricity profile | -
| PECD | -
| P2G capacity | -
| Postprocessing | -
| "name of a data point" | related to a different data point by being used as input or being an output
I/O | Input | -
| Output | -
| Output/Input | This data is output of a tool and used as input for a different one.
Reference (Report) | page number | Reference in SBG report
Source | Key | Keys show to a different row in which the primary source is listed
| URL | URLs link to online source of the data
| ENTSO analysis | based on calculation by TYNDP team
| TSO Data collection | based on TSO Data Collection
| Assumption | Assumption made by TYNDP team
Comment | text | Comment or further informationo on that data point
Others
na | - | not applicable
None | - | an empty field, there is no information necessary/available
SBG | - | Scenario Building Guidelines
This data matrix tries to gather all data that is mentioned in the Scenario Building Guidelines of the TYNDP 2022.

## External sources
External studies in SBG
SBG source
Ambition Tool
AT_1 | Default parameters | JRC POTENCIA | p. 15 | JRC Publications Repository - POTEnCIA scenarios (europa.eu)
AT_2 | Transport data: EV Efficiencies | EU road vehicle energy consumption and CO2 emissions by 2050 – Expert-based scenarios | p. 15 | https://doi.org/10.1016/j.enpol.2019.111224
Emissions
Em_1 | Emission Factors | JRC: Default emission factors for local emission inventories – Version 2017 | p. 25 | http://publications.jrc.ec.europa.eu/repository/bitstream/JRC107518/jrc_technical_reports_-_com_default_emission_factors-2017.pdf
Em_2 | Non-CO2 emissions | EC Impact Assessment scenarios | p. 18
Investment candidates - RES trajectory
Pot_1 | Offshore wind | Wind Europe – Our Energy, our future completed with Mediterranean offshore strategy from Guidehouse for EC and World bank. | p. 29
Pot_2 | Onshore wind and solar PV | LIMES-EU, P. Nahmmacher (p 21) together with Mediterranean offshore strategy from Guidehouse for EC | p. 29
Prosumer
Prosumer_1 | Capacity/energy delivery cost | Energy prices and costs in Europe | p. 32 | https://eur-lex.europa.eu/legal-content/EN/TXT/?qid=1602774170631&uri=CELEX:52020DC0951
EV
EV_1 | V2G activation price | Impact of electric vehicles on the cost-competitiveness of generation and storage technologies in the electricity system | p. 32 | Impact of electric vehicles on the cost-competitiveness of generation and storage technologies in the electricity system - IOPscience
EV_2 | V2G share | National Grid FES 2021 scenarios | p. 32
P2G
P2G_1 | Currently Installed SMR & ATR capacity | Fuel Cells and Hydrogen Observatory, March 2020: https://www.fchobservatory.eu/observatory/technology-and-market/hydrogen-supply-capacity | p. 35 | Hydrogen Supply Capacity ¦ FCHObservatory
P2G_2 | ATR + CCS capture rate | IFPEN and SINTEF. 20202. Hydrogen for Europe Final report of the pre-study | p. 35 | https://www.sintef.no/globalassets/sintef-energi/pdf/hydrogen-for-europe-pre-study-report-version-4_med-omslag-2020-03-17.pdf/
P2G_3 | SMR + CCS capture rate | IEAGHG. 2017. Technical report 2017/02: Techno-economic evaluation of SMR Based Standalone (Merchant) Hydrogen Plant with CCS | p. 35 | https://ieaghg.org/exco_docs/2017-02.pdf
P2G_4 | H2 grid costs | European Hydrogen Backbone | p. 36 | https://gasforclimate2050.eu/wp-content/uploads/2021/06/European-Hydrogen-Backbone_April-2021_V3.pdf
P2G_5 | Salt cavern conversion to H2 | Hydrogen generation in Europe: Overview of costs and key benefits (2020) | p.37
P2G_6 | Costs and efficiencies of electrolysers | Hydrogen Europe, IRENA, E3M | p. 34
Investment costs
Inv_costs_1 | H2 levelised cost of storage | European Hydrogen Backbone | p. 40 | EHB#2_report_part1_210614.indd (gasforclimate2050.eu)
Inv_costs_2 | Power Generation and Electrolysers | DEA Technology Catalogue for Generation of Electricity and District Heating | p. 41 | https://ens.dk/en/our-services/projections-and-models/technology-data
|  | ASSET report “Technology pathways in decarbonisation scenarios” | p. 41 | https://ec.europa.eu/energy/sites/ener/files/documents/2018_06_27_technology_pathways_-_finalreportmain2.pdf
Fuel and commodity prices
Commodities_1 | Lignite costs and prices | Booz & Co, “Understanding Lignite Generation Costs in Europe | p. 54 | https://www.dei.gr/documents2/investors/meleth%20booz/understanding%20lignite%20generation%20costs%20in%20europe.pdf
Commodities_2 | Gas, coal and oil prices | IEA World Energy Outlook 2020 | p. 54
Commodities_3 | CO2 prices | IEA World Energy Outlook 2020 | p. 55
|  | Hæge Fjellheim Head of Carbon Research, Refinitiv, What role for the MSR in EUA formation? | p. 55 | https://ec.europa.eu/clima/events/expert-workshop-market-stability-reserve_en
Commodities_4 | prices for decarbonised and imported renewable hydrogen. | Estimating Long-Term Global Supply Costs for Low-Carbon Hydrogen, Institute of Energy Economics at the University of Cologne (EWI) | p. 56 | https://www.ewi.uni-koeln.de/de/publikationen/estimating-long-term-global-supply-costs-for-low-carbon-hydrogen/
Commodities_5 | Biomethane prices | Navigant Biomethane Tool | p. 56
Commodities_6 | Synthetic methane prices | GasforClimate Study 2019 | p. 56 | Gas for Climate. The optimal role for gas in a net zero emissions energy system (gasforclimate2050.eu)
|  | GasforClimate Study 2020 | p. 56 | Gas-for-Climate-Gas-Decarbonisation-Pathways-2020-2050.pdf (gasforclimate2050.eu)
Hydrogen Import Potentials
Hydrogen_1 | Extra EU supply potential was consulted with stakeholders |  | p. 57 | https://www.entsog.eu/entsog-and-entso-es-workshop-extra-eu-supply-potentials-tyndp-2022
Methane Import Potentials
Methane_1 | Extra EU supply potentials | IEA’s World Energy Outlook 2018 | p. 59 | https://www.iea.org/weo2018/
|  | Stakeholder meetings | p. 59
Methane_2 | Regional studies for import regions | Different sources | p. 60-62
Methane_3 | LNG Supply Potential | IEA’s World Energy Outlook 2018 | p. 63
Biomethane (Domestic biomethane production is calculated by "Navigant Biomethane Tool")
Bio_1 | Input Data | Navigant Expert opinion | p. 64-72
CIB input
|  | Spottle et al., 2013, “Low ILUC potential of wastes and residues for biofuels: Straw, forestry residues, UCO, corn cobs” |  | http://www.mvak.eu/test5674213467/Ecofys_2013_low_ILUC.pdf
|  | Elbersen et al., 2016, “Outlook of spatial biomass value chains in EU-28" |  | http://iinas.org/tl_files/iinas/downloads/bio/ biomasspolicies/Elbersen_et_al_2016_Outlook_of_spatial_biomass_value_chains_in_EU28_(D2.3_Biomass_Policies).pdf
|  | EU Agricultural Outlook for 2030 |  | https://ec.europa.eu/info/sites/info/files/food-farming-fisheries/farming/documents/medium-term-outlook-2018-report_en.pdf
|  | Ecofys, 2018, “Mobilising woody residues to produce biomethane”, |  | https://gasforclimate2050.eu/wp-content/uploads/2020/03/GfC-Memo-Rethinking-the-EU-biomethane-potential-from-woody-biomass-residues.pdf
|  | Engineering toolbox |  | https://www.engineeringtoolbox.com/wood-density-d_40.html
NTC
NTCs_1 | NTCs 2025 and 2030 | ERAA 2021 | p. 11

## TYNDP Data files
Key | Name | Unit | Value | Scenario | Type | Data Format | Input to | Output from | Reference | Source | Comment
Data1 | Electricity Modelling Results (220310_Updated_Electricity_Modelling_Results.xlsx) | na | open | All | collection | xlsx | Dispatch and Expansion Model | Dispatch and Expansion Model | None | https://2022.entsos-tyndp-scenarios.eu/download/
Data2 | Gas data (220404_Updated_Gas_Data.xlsx) | na | open | All | collection | xlsx | Dispatch and Expansion Model | Dispatch and Expansion Model, Ambition Tool | None | https://2022.entsos-tyndp-scenarios.eu/download/
Data3 | Hydrogen data (220310_Updated_Hydrogen_Data.xlsx) | na | open | All | collection | xlsx | Dispatch and Expansion Model | Dispatch and Expansion Model, Ambition Tool | None | https://2022.entsos-tyndp-scenarios.eu/download/
Data4 | Demand Figures (220228_Updated_Energy_Demand.xlsx) | na | open | Cop21 | collection | xlsx | Ambition Tool, TRAPUNTA | Ambition Tool | None | https://2022.entsos-tyndp-scenarios.eu/download/
Data5 | Supply Figures (220228_Updated_Energy_Supply.xlsx) | na | open | Cop21 | collection | xlsx | Supply Tool | Dispatch and Expansion Model, Ambition Tool | None | https://2022.entsos-tyndp-scenarios.eu/download/
Data6 | Graphs and Figures (Updated-TYNDP-2022-Scenario-Report-Data_Figures.xlsx) | na | open | All | collection | xlsx | - | Postprocessing | None | https://2022.entsos-tyndp-scenarios.eu/download/
Data7 | COP Curves (TYNDP2022-2022-04-COP-Curves.xlsx) | na | open | All | collection | xlsx | Dispatch and Expansion Model | - | SBG p48 | https://2022.entsos-tyndp-scenarios.eu/download/
Data8 | Climate Data (>1GB) | na | open | All | time series | xlsx | Dispatch and Expansion Model; TRAPUNTA | - | SBG p53 | PECD; https://2022.entsos-tyndp-scenarios.eu/download/
DTS | Demand Time Series 2030 Global Ambition | MW | open | Cop21 | time series | xlsx | Dispatch and Expansion Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market;
DTS | Demand Time Series 2040 Global Ambition | MW | open | Cop21 | time series | xlsx | Dispatch and Expansion Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market;
DTS | Demand Time Series 2050 Global Ambition | MW | open | Cop21 | time series | xlsx | Dispatch and Expansion Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market;
DTS | Demand Time Series 2030 Distributed Energy | MW | open | Cop21 | time series | xlsx | Dispatch and Expansion Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market;
DTS | Demand Time Series 2040 Distributed Energy | MW | open | Cop21 | time series | xlsx | Dispatch and Expansion Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market;
DTS | Demand Time Series 2050 Distributed Energy | MW | open | Cop21 | time series | xlsx | Dispatch and Expansion Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market;
DTS | NT Time series | MW | closed | NT | time series | None | Dispatch model | TRAPUNTA | None | None | added by JM
Elec_1 | Native Demand | GWh | open | All | collection | xlsx | Dispatch and Expansion Model | TSO Data collection | None | Data1
Elec_2 | Flexibility Capacity | MW | open | All | collection | xlsx | Dispatch and Expansion Model | Dispatch and Expansion Model | None | Data1
Elec_3 | Flexibility Dispatch | GWh | open | All | collection | xlsx | - | Dispatch and Expansion Model | None | Data1
Elec_4 | Capacity | MW | open | All | collection | xlsx | Dispatch and Expansion Model | Dispatch and Expansion Model | None | Data1
Elec_5 | Dispatch | GWh | open | All | collection | xlsx | - | Dispatch and Expansion Model | None | Data1
Elec_6 | Generation (for standalone RES) | GWh | open | Cop21 | collection | xlsx | - | Dispatch and Expansion Model | None | Data1
Elec_7 | Line Capacity | MW | open | Cop21 | collection | xlsx | Dispatch and Expansion Model | Dispatch and Expansion Model | None | Data1
Elec_8 | Line Flow | GWh | open | Cop21 | collection | xlsx | - | Dispatch and Expansion Model | None | Data1
Elec_9 | Nodes - Dict | None | open | All | collection | xlsx | Dispatch and Expansion Model | - | None | Data1
Gas_1 | Methane Production 1 | GWh/d | open | All | collection | xlsx | - | Supply Tool | None | Data2 | per case, per year
Gas_2 | Methane Production 2 | TWh/y | open | All | collection | xlsx | - | Supply Tool | None | Data2 | per case, per year
Gas_3 | Gas Final Demand 1 | GWh/d | open | All | collection | xlsx | Supply Tool | Demand Tool | None | Data2 | per case, per year
Gas_4 | Gas Final Demand 2 | TWh/y | open | All | collection | xlsx | Supply Tool | Demand Tool | None | Data2 | per case, per year
Gas_5 | Gas Power Demand 1 | GWh/d | open | All | collection | xlsx | Supply Tool | Dispatch and Expansion Model | None | Data2 | per case, per year
Gas_6 | Gas Power Demand 2 | TWh/y | open | All | collection | xlsx | Supply Tool | Dispatch and Expansion Model | None | Data2 | per case, per year
Gas_7 | H2 Import Potential | TWh/y | open | Cop21 | collection | xlsx | Dispatch and Expansion Model | - | None | Data2
Gas_8 | EU CH4 Supply Potentials | ? | open | All | collection | xlsx | Dispatch and Expansion Model | - | None | Data2
H2_Cap | H2 Capacity | MW | open | Cop21 | collection | xlsx | - | Dispatch and Expansion Model | None | Data3
H2_Gen | H2 Generation | GWh | open | Cop21 | collection | xlsx | - | Dispatch and Expansion Model | None | Data3
Energy_Supply | Methane Supply Data (Import & Domestic production) | TWh | open | Cop21 | collection | xlsx | - | Supply Tool | None | Data5
Energy_Supply | Methane Max Import Share | % | open | Cop21 | collection | xlsx | - | Supply Tool | None | Data5
Energy_Supply | Hydrogen Supply Data (Import & Domestic production) | TWh | open | Cop21 | collection | xlsx | - | Supply Tool | None | Data5
Energy_Supply | Hydrogen Max Import Share | % | open | Cop21 | collection | xlsx | - | Supply Tool | None | Data5
Energy_Supply | Liquids Supply Data (Import & Domestic production) | TWh | open | Cop21 | collection | xlsx | - | Supply Tool | None | Data5
Energy_Supply | Liquids Max Import Share | % | open | Cop21 | collection | xlsx | - | Supply Tool | None | Data5
Energy_Supply | Solids Supply Data (Import & Domestic production) | TWh | open | Cop21 | collection | xlsx | - | Supply Tool | None | Data5
Energy_Supply | Biomass Supply Data (Domestic production) | TWh | open | Cop21 | collection | xlsx | - | Supply Tool | None | Data5
AT | Ambition Tool Input Data - Market Shares | % | open | Cop21 | collection | xlsx | Ambition Tool | - | SBG p15, Figure 5 | Data4, TSO Data collection, AT_1 default values | See: "Ambition Tool" sheet
AT | Ambition Tool Input Data - Transportation Data | Multiple | open | Cop21 | collection | xlsx | Ambition Tool | - | SBG p15, Figure 5 | Data4, TSO Data Collection, AT_2 for EV efficiencies | See: "Ambition Tool" sheet
AT | Ambition Tool Input Data - missing | Multiple | open | Cop21 | collection | xlsx | Ambition Tool | - | SBG p15, Figure 5 | Data4 | See: "Ambition Tool" sheet
AT | Ambition Tool Output Data - Energy demand | na | open | Cop21 | collection | xlsx | - | Ambition Tool | SBG p15, Figure 5 | Data4 | See: "Ambition Tool" sheet

## National Trends
Key | Name | Unit | Value | Scenario | Type | Data Format | Tool | I/O | Reference (Report) | Source | Comment
Data1 | Electricity Modelling Results | na | open | All | collection | xlsx | Dispatch model | Input/Output |  | https://2022.enTSO Data Collection-tyndp-scenarios.eu/download/
Data2 | Gas Data | na | open | All | collection | xlsx | Dispatch model | Input/Output |  | https://2022.enTSO Data Collection-tyndp-scenarios.eu/download/
Data3 | Hydrogen Data | na | open | All | collection | xlsx | Dispatch model | Input/Output |  | https://2022.enTSO Data Collection-tyndp-scenarios.eu/download/
Data4 | Demand Figures | na | open | Cop21 | collection | xlsx | Ambition Tool | Input/Output |  | https://2022.enTSO Data Collection-tyndp-scenarios.eu/download/
Data5 | Supply Figures | na | open | Cop21 | collection | xlsx | Supply Tool | Output |  | https://2022.enTSO Data Collection-tyndp-scenarios.eu/download/
Data6 | Graphs and Figures | na | open | All | collection | xlsx | Postprocessing | Output |  | https://2022.enTSO Data Collection-tyndp-scenarios.eu/download/
Data7 | COP curves | na | open | All | collection | xlsx | Trapunta, Electricity profile | Input |  | https://2022.enTSO Data Collection-tyndp-scenarios.eu/download/
Data8 | Climate Data | na | open | All | time series | xlsx | PECD | Output | SBG p53 | https://2022.enTSO Data Collection-tyndp-scenarios.eu/download/
Climatic Data: Pan-European Climate Database (PECD)
| LF CSP with Storage (dispatched) 2025 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF CSP with Storage (dispatched) 2030 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF SolarPV 2025 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF SolarPV 2030 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF Offshore 2025 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF Offshore 2030 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF Onshore 2025 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF Onshore 2030 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| Hydro Inflow 2025 | GWh | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| Hydro Inflow 2030 | GWh | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| Temperature annual difference per zone (detrended vs historical) | C | open | All | plot | collection | PECD | Output | None | Data8
| Temperature Probability Density Function by zone (detrended vs historical) | C | open | All | plot | collection | PECD | Output | None | Data8
| Temperature cumulated density function per zone (detrended vs historical) | C | open | All | plot | collection | PECD | Output | None | Data8
| Weather years - Dispatch | yr | 1995, 2008, 2009 | All | collection | Text | Dispatch model | Input | SBG p25 | ENTSO analysis
| Weights of weather years | % | 23, 37, 40 | All | collection | Text | Dispatch model | Input | SBG p25 | ENTSO analysis
| Weather year - Expansion | yr | 2009 | Cop21 | float | Text | Expansion model | Input | SBG p24, 25 | ENTSO analysis
Ex-ante steps
| Annual Final electricity demand | GWh | open | NT | collection | xlsx | Trapunta | Input | SBG p11 | Data1 | in Excel it is called Native Demand
| Number of EVs | 1 | closed | NT | collection | None | Trapunta | Input | SBG p11,12 | TSO Data Collection
| Number of HPs | 1 | closed | NT | collection | None | Trapunta | Input | SBG p11 | TSO Data Collection
| General Parameters in Trapunta | collection | open | All | collection | collection | Trapunta | Input | SBG Appendix VI | ENTSO Data Collection | see sheet "Trapunta"
ELD_1 | Final Hourly Electricity Demand | MW | closed | NT | time series | None | Trapunta | Output | JM | na
| Dedicated RES | MW | closed | NT | collection | Table | P2G capacity | Input | SBG p11 | TSO Data Collection | Offshore wind, onshore wind, PV
| Electrolyser capacity | MW | closed | NT | collection | Table | P2G capacity | Input | SBG p10, 11, 12 | TSO Data Collection | Connected to only electrity or gas grid or both
| SMR/ATR capacity | MW | closed | NT | collection | None | P2G capacity | Input | SBG p27, 38 | TSO Data Collection
P2G_1 | P2G capacity | MW | closed | NT | collection | None | P2G capacity | Output | SBG p10 | na
Dispatch model
Input
| Time horizon | yr | open | NT | collection | Text | Dispatch model | Input | SBG p10 | Assumption
| Final Hourly Electricity Demand | MW | closed | NT | time series | None | Dispatch model | Input | SBG p10 | ELD_1
| RES profiles | 1 | open | NT | time series | xlsx | Dispatch model | Input | SBG p11 | Data8 | see: Climatic Data: Pan-European Climate Database (PECD)
| Generation Capacities | MW | open | NT | collection | xlsx | Dispatch model | Input | SBG p10, 11 | Data1 | RES, Thermal units (incl. Nuclear)
| Storage and Flexibility capacities | MW | open | NT | collection | xlsx | Dispatch model | Input | SBG p10 | Data1 | Pump hydro, battery and DSR
| P2G capacity | closed | closed | NT | closed | None | Dispatch model | Input | SBG p10 | P2G_1 | config 3 and dedicated RES
| Prices (fuel commodities and carbon) | collection | open | All | collection | Table | Dispatch model | Input | see comment | see comment | see sheet "Prices, Costs, and Potentials"
| Costs (investment, hydrogen) | collection | open | All | collection | Table | Dispatch model | Input | see comment | see comment | Investment costs for adequacy step, see sheet "Prices, Costs, and Potentials"
| Bidding zones | na | open | All | collection | xlsx | Dispatch model | Input | SBG p12 | na
| Electricity Interconnection capacity 2025 | MW | open | NT | time series | xlsx | Dispatch model | Input | SBG p11 | ERAA 2021
| Electricity Interconnection capacity 2030 | MW | open | NT | time series | xlsx | Dispatch model | Input | SBG p11 | ERAA 2021
| Electricity Interconnection capacity 2040 | MW | closed | NT | time series | xlsx | Dispatch model | Input | SBG p11 | ERAA 2021 and TSO Data Collection | Best estimate of 2035 grid was used. The corresponding data could not be found
| Hydrogen storage capacity | None | closed | NT | None | None | Dispatch model | Input | SBG p28 | None
| Emission factors | t CO2/MWh | open | All | collection | Table | Dispatch model | Input | SBG p25 | Em_1
Output
| Dispatch | GWh/yr | open | NT | float | xlsx | Dispatch model | Output | no comment | Data1
| Electrolyser hourly load | MW | closed | NT | time series | None | Dispatch model | Output | SBG p13 | na
| Spilled RES energy | None | closed | NT | None | None | Dispatch model | Output | SBG p13 | na
| Aggregated unit commitment | None | closed | NT | None | None | Dispatch model | Output | SBG p13 | na
| Storage flows | None | closed | NT | None | None | Dispatch model | Output | SBG p13 | na
| DSR activation | None | closed | NT | None | None | Dispatch model | Output | SBG p13 | na
| Electricity flows | None | closed | NT | time series | None | Dispatch model | Output | SBG p10 | na
| H2 production from P2G | None | closed | NT | None | Figure | Dispatch model | Output | SBG p10 | None
| Fuel consumption | None | closed | NT | None | Figure | Dispatch model | Output | SBG p10 | None
| Methane demand power generation | GWh/d | open | NT | collection | xlsx | Dispatch model | Output | SBG p10 | Data2, Data3
| Hydrogen demand power generation | GWh/d | open | NT | collection | xlsx | Dispatch model | Output | SBG p10 | Data2, Data3
| Capacity | MW | unclear | NT | collection | Text | Adequacy | Output | SBG p12 | Data1 | Capacity expansion for 2040 to ensure adequacy of electricity system: interconnections, storage and peak generation; it is unclear what data in Data1 is predefined and what is output of SoS
Gas (CH4 & H2)
| Methane network | None | closed | NT | None | Figure | Supply Tool | Input | SBG p10 | TSO Data Collection
| Natural gas/biomethane potential | None | unclear | NT | None | Figure | Supply Tool | Input | SBG p10 | TSO Data Collection | Are the results of the biomethane Tool published?
| Conventional natural gas production | None | closed | NT | None | Table | Supply Tool | Input | SBG p11 | TSO Data Collection
| Hydrogen historic production | None | closed | NT | None | Figure | Supply Tool | Input | SBG p10 | TSO Data Collection
Demand
| Number of hybrid HPs | 1 | closed | NT | collection | None | Trapunta | Input | SBG p10, 48 | TSO Data Collection | operated with methane or hydrogen
| Number of FCEV | 1 | closed | NT | collection | None | Dispatch model | Input | SBG p11 | TSO Data Collection
| Hydrogen demand power generation | GWh/d | open | NT | collection | xlsx | Dispatch model | Output | SBG p10 | Data2, Data3
| Hydrogen final demand | GWh/d | open | NT | collection | xlsx | Dispatch model | Input | SBG p10 | na
| Number of hybrid HPs | 1 | closed | NT | float | None | Dispatch model | Input | SBG p10, 48 | TSO Data Collection | operated with methane or hydrogen
| Methane demand power generation | GWh/d | open | NT | collection | xlsx | Dispatch model | Output | SBG p10 | Data2, Data3
| Methane final demand | GWh/d | open | NT | collection | xlsx | Supply Tool | Input | SBG p10 | Data2
Supply
| Methane production | GWh/d | open | NT | collection | xlsx | Supply Tool | Output | SBG p10 | Data2
| Hydrogen (SMR) production | None | closed | NT | None | Figure | Postprocessing | Output | SBG p10 | na
| Hydrogen imports | None | closed | NT | None | Figure | Supply Tool | Output | SBG p10 | na
Ex-post steps
| Electricity sector CO2 emissions | Mt | open | NT | collection | xlsx | Dispatch model | Output | SBG p10 | Data6

## Cop21
Key | Name | Unit | Value | Scenario | Type | Data Format | Tool | I/O | Reference (Report) | Source | Comment
Data1 | Electricity Modelling Results | na | open | All | collection | xlsx | Dispatch (and Expansion) Model | Input/Output |  | https://2022.entsos-tyndp-scenarios.eu/download/
Data2 | Gas Data | na | open | All | collection | xlsx | Dispatch (and Expansion) Model | Input/Output |  | https://2022.entsos-tyndp-scenarios.eu/download/
Data3 | Hydrogen Data | na | open | All | collection | xlsx | Dispatch (and Expansion) Model | Input/Output |  | https://2022.entsos-tyndp-scenarios.eu/download/
Data4 | Demand Figures | na | open | Cop21 | collection | xlsx | Ambition Tool | Input/Output |  | https://2022.entsos-tyndp-scenarios.eu/download/
Data5 | Supply Figures | na | open | Cop21 | collection | xlsx | Supply Tool | Output |  | https://2022.entsos-tyndp-scenarios.eu/download/
Data6 | Graphs and Figures | na | open | All | collection | xlsx | Postprocessing | Output |  | https://2022.entsos-tyndp-scenarios.eu/download/
Data7 | COP curves | na | open | All | collection | xlsx | Trapunta, Electricity profile | Input |  | https://2022.entsos-tyndp-scenarios.eu/download/
Data8 | Climate Data | na | open | All | time series | xlsx | PECD | Output | SBG p53 | https://2022.entsos-tyndp-scenarios.eu/download/
DTS | Demand Time Series 2030 Global Ambition | MW | open | Cop21 | time series | xlsx | Dispatch (and Expansion) Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market; Does it include district heating?
DTS | Demand Time Series 2040 Global Ambition | MW | open | Cop21 | time series | xlsx | Dispatch (and Expansion) Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market; Does it include district heating?
DTS | Demand Time Series 2050 Global Ambition | MW | open | Cop21 | time series | xlsx | Dispatch (and Expansion) Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market; Does it include district heating?
DTS | Demand Time Series 2030 Distributed Energy | MW | open | Cop21 | time series | xlsx | Dispatch (and Expansion) Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market; Does it include district heating?
DTS | Demand Time Series 2040 Distributed Energy | MW | open | Cop21 | time series | xlsx | Dispatch (and Expansion) Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market; Does it include district heating?
DTS | Demand Time Series 2050 Distributed Energy | MW | open | Cop21 | time series | xlsx | Dispatch (and Expansion) Model | TRAPUNTA | None | https://2022.entsos-tyndp-scenarios.eu/download/ | It is unclear whether it is the total electricity demand or one assigned to one of the electricity nodes: EV, Prosumer, Wholesale market; Does it include district heating?
Climatic Data: Pan-European Climate Database (PECD)
| LF CSP with Storage (dispatched) 2025 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF CSP with Storage (dispatched) 2030 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF SolarPV 2025 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF SolarPV 2030 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF Offshore 2025 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF Offshore 2030 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF Onshore 2025 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| LF Onshore 2030 | 1 | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| Hydro Inflow 2025 | GWh | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| Hydro Inflow 2030 | GWh | open | All | time series | xlsx | PECD | Output | SBG p 24, 25, 53 | Data8 | see document "Comments"
| Temperature annual difference per zone (detrended vs historical) | C | open | All | collection | png | PECD | Output | None | Data8
| Temperature Probability Density Function by zone (detrended vs historical) | C | open | All | collection | png | PECD | Output | None | Data8
| Temperature cumulated density function per zone (detrended vs historical) | C | open | All | collection | png | PECD | Output | None | Data8
| Weather years - Dispatch | yr | 1995, 2008, 2009 | All | collection | Text | Dispatch model | Input | SBG p25 | ENTSO analysis
| Weights of weather years | % | 23, 37, 40 | All | collection | Text | Dispatch model | Input | SBG p25 | ENTSO analysis
| Weather year - Expansion | yr | 2009 | Cop21 | float | Text | Expansion model | Input | SBG p24, 25 | ENTSO analysis
Ambition Tool
| Ambition Tool Input Data - Market Shares | % | open | Cop21 | collection | xlsx | Ambition Tool | Input | SBG p15, Figure 5 | Data4 | see sheet: Ambition Tool
| Ambition Tool Input Data - Transportation Data | collection | open | Cop21 | collection | xlsx | Ambition Tool | Input | SBG p15, Figure 5 | Data4 | see sheet: Ambition Tool
| Ambition Tool Input Data - closed data | collection | closed | Cop21 | collection | Figure | Ambition Tool | Input | SBG p15, Figure 5 | Data4 | see sheet: Ambition Tool
| Ambition Tool Output Data - Energy demand | not reported | open | Cop21 | collection | xlsx | Ambition Tool | Output | SBG p15, Figure 5 | Data4 | see sheet: Ambition Tool
District Heating/HPs
| COP | 1 | open | All | collection | xlsx | Trapunta | Input | SBG p 30 | Assumption
| COP geothermal HP | 1 | 3.2 | All | float | Text | Trapunta | Input | SBG p48 | Assumption
| DH market share in space heating | % | open | Cop21 | collection | xlsx | Ambition Tool/Trapunta | Output/Input | SBG p30 | Ambition Tool | per scenario, country, time horizon
| DH market share in water heating | % | open | Cop21 | collection | xlsx | Ambition Tool/Trapunta | Output/Input | SBG p30 | Ambition Tool | per scenario, country, time horizon, flat-profile
| Heat network losses | % | 5.00 | Cop21 | float | Text | Heat demand | Input | SBG p30 | Assumption
| HP Comfort temperature | C | closed | Cop21 | collection | Text | Heat pump load profile | Input | SBG p48 | Assumption | above: conditioning, below: heating
| Hybrid HP heating start temperature | C | 16 | All | float | Text | Heat pump load profile | Input | SBG p48 | Assumption
| Hybrid HP switch to gas temperature | C | 5 | All | float | Text | Heat pump load profile | Input | SBG p48 | Assumption
Dispatch and Expansion model
Input
| Transmission and distribution losses | % | 7 | Cop21 | float | Text | electricity profile | Input | SBG p17 | Assumption | added to electricity load-profile on hourly basis
| Gas to be consumed for power generation | MWh | closed | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p17 | Preliminary assumption | based TYNDP 2020, starting value for modelling
| share of Hydrogen to be supplied by EU electrolysis | % | closed | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p17 | Preliminary assumption | starting value for modelling
| Time horizon | None | open | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p24 | Assumption
| VOLL_electricity | EUR/MWh | 10000.00 | All | float | Table | Dispatch (and Expansion) Model | Input | SBG p24 | Assumption
| VOLL_hydrogen | EUR/MWh | 10000.00 | All | float | Table | Dispatch (and Expansion) Model | Input | SBG p24 | Assumption | taking into account the efficiency of electrolysers
| ENS | h | 4.00 | All | float | Table | Dispatch (and Expansion) Model | Input | SBG p24 | Assumption
| Prices (fuel commodities and carbon) | collection | open | All | collection | Table | Dispatch (and Expansion) Model | Input | see comment | see comment | see sheet "Prices, Costs, and Potentials"
| Costs (investment, hydrogen) | collection | open | All | collection | Table | Dispatch (and Expansion) Model | Input | see comment | see comment | Investment costs for adequacy step, see sheet "Prices, Costs, and Potentials"
| Emission factors | t CO2/MWh | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p25 | Em_1
| Starting grid | None | open | All | collection | Text | Dispatch (and Expansion) Model | Input | SBG p27 | 2025 grid of TYNDP 2020 with some NTC until early spring 2021
| Predefined capacity level (power generation) | MW | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p27, 28 | National Trends results; Nuclear: defined ex-ante | Based on NT: Nuclear, Hydro, Solar Thermal, Marine, Thermal,
| Battery power capacity potentials | % | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p28 | Assumption | Battery Prosumer, Utility scale and V2G
| Battery storage capacity potentials | None | closed | Cop21 | collection | None | Dispatch (and Expansion) Model | Input | None | None
| RES max expansion | MW | open | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p28, 29 | TSO data, Pot_1, Pot_2, Final Storyline Report | Level 1, 2 and 3
| RES min expansion | MW | open | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p28, 29 | TSO data, Pot_1, Pot_2, Final Storyline Report | Level 1, 2 and 3
| RES maximum building rate by year | None | closed | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p28 | None
| RES Build-out rate as the maximum capacity that can be built in one year | None | closed | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p28 | None
| Ambition Factor | 1 | open | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p29 | Assumption
| Predefined decrease of thermal generation capacity | MW | closed | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p29 | Assumption | expansion model also has the ability to decide to decommission other thermal units when the electricity price is not sufficient to balance fixed costs
| Must-run of thermal units | MW | closed | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p29 | Assumption | must-run will be removed after 2030
| Hydrogen storage capacity (steel tanks and salt caverns) | closed | closed | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p28 | None | has been defined ex-ante (SBG p28), but salt caverns are still part of investment loop (SBG p36)
| Bidding Zones | na | open | All | collection | Figure | Dispatch (and Expansion) Model | Input | SBG p12 | ENTSO
| Power plant efficiencies | % | closed | All | collection | None | Dispatch (and Expansion) Model | Input | None | None
| Electricity interconnection upper expansion limits | None | closed | Cop21 | None | Text | Dispatch (and Expansion) Model | Input | SBG p40 | None
| Electricity interconnection level of increase per time | None | closed | Cop21 | None | Text | Dispatch (and Expansion) Model | Input | SBG p40 | None
| Annual Electricity Demand | GWh | open | Cop21 | collection | xlsx | Dispatch (and Expansion) Model | Input | None | Data1
| Hourly Electricity Demand | MW | open | Cop21 | collection | xlsx | Dispatch (and Expansion) Model | Input | None | DTS
| Flexibility Capacity | MW | open | Cop21 | collection | xlsx | Dispatch (and Expansion) Model | Input | None | Data1
| Generation Capacity | MW | open | Cop21 | collection | xlsx | Dispatch (and Expansion) Model | Input | None | Data1
| H2 Capacity | MW | open | Cop21 | collection | xlsx | Dispatch (and Expansion) Model | Input | None | Data3
| Planned and forced outage time series | None | closed | All | time series | None | Dispatch (and Expansion) Model | Input | None | Implementation Guidelines
| Hurdle cost | EUR/MWh | 0.01 | All | float | Text | Dispatch (and Expansion) Model | Input | None | Implementation Guidelines
Output
| Electricity Flows | GWh | open | Cop21 | collection | xlsx | Dispatch (and Expansion) Model | Output |  | Data1
| Annual Flexibility Dispatch | GWh | open | Cop21 | collection | xlsx | Dispatch (and Expansion) Model | Output |  | Data1
| Annual Power Generation Dispatch | GWh | open | Cop21 | collection | xlsx | Dispatch (and Expansion) Model | Output |  | Data1
| H2 Generation | GWh | open | Cop21 | collection | xlsx | Dispatch (and Expansion) Model | Output |  | Data3
| Electricity Interconnection | MW | open | Cop21 | collection | xlsx | Dispatch (and Expansion) Model | Output |  | Data1
| CO2 emissions | Mt | open | Cop21 | collection | xlsx | Postprocessing | Output | SBG p14 | Data6
| Non-CO2 emissions | collection | open | Cop21 | collection | Table | Postprocessing | Input | SBG p18 | Em_2, Implementation Guideline
Prosumer and EV
| capacity/energy delivery cost to Prosumer | EUR/MWh | 54 | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p32 | Prosumer_1 | between wholesale market and Prosumer
| activation price V2G | EUR/MWh | 32 | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p32 | EV_1
| EV charging capacity | kW | open | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p32 | Assumption
| V2G share | % | 26 | DE | float | Text | Dispatch (and Expansion) Model | Input | SBG p32 | EV_2 | for which time horizon?
| V2G share | % | 11 | GA | float | Text | Dispatch (and Expansion) Model | Input | SBG p32 | EV_2 | for which time horizon?
| Minimum SOC EV | % | 50 | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p32 | Assumption
| Downward load adjustment price of consumers | EUR/MWh | 100 | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p32 | Assumption | in 2050
| Utility-scale batteries capacity | h | 3 | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p32 | Assumption
P2G modelling methodoloy
| Market share EU electrolyser technologies | % | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p34 | Assumption | Alkaline and PEM for the years: 2020, 2025, 2030, 2040 and 2050
| EU electrolyser fleet efficiency | %NCV | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p34 | ENTSO analysis with P2G_6 | for the years: 2020, 2025, 2030, 2040 and 2050
| Average CO2 capture rate SMR/ATR | % | 90 | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p35 | ENTSO analysis
| SMR/ATR plants ramping constraints | h | open | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p35 | Assumption
| Potential for repurposing of methane cross-border capacities | % | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p35 | ENTSO analysis | for the years: 2030, 2040 and 2050
| Potential for building new hydrogen pipeline | GW_H2/yr/boarder | 7.5 | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p36 | ENTSO analysis
| New pipeline capacity | GW | 13 | Cop21 | float | Table | Dispatch (and Expansion) Model | Input | SBG p36 | Assumption | unclear if it is per year or something else
| Salt cavern storage conversion potentials for hydrogen | % | open | Cop21 | collection | Table | Hydrogen storage working gas volume potentials | Input | SBG p36 | Assumption
| Hydrogen storage working gas volume potentials | TWh_NCV | open | Cop21 | collection | Table | Salt cavern storage conversion potentials for hydrogen/Dispatch and Expansion Model | Output/Input | SBG p36 | Assumption | Resulting storage capacity potentials from "Salt cavern storage conversion potentials for hydrogen"
| Decentralised Pressurised H2 tanks storage capacity | h | 48 | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p37 | Assumption | for serving 48 hours of hydrogen demand
| Decentralised Pressurised H2 tanks filling capacity | h | 8 | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p37 | Assumption | be filled in 8 hours
| Distribution of H2 demand across electrolysis configurations | % | unclear | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p40 | Assumption | Config 5 is missing; there might be a typo for H2 distribution to config 4 so that it supplies both direct and indirect demand; not connected to electricity modelling results table sheet "Demand" nodes for electrolysis
Supply
| Hydrogen import potentials | TWh | open | Cop21 | collection | Figure | Dispatch (and Expansion) Model | Output | SBG p58 | ENTSO analysis | per scenario, for the years: 2030, 2040 and 2050; regions: Norway, Russia, North Africa, Ukraine and Turkish Hub
| Methane import potentials (Min and Max) | bcma | open | All | collection | Figure | Dispatch (and Expansion) Model | Output | SBG p60-63 | Methane_1, Methane_2 | for 2022 until 2040; regions: Norway, Russia, North Africa, Caspian and Turkish Hub
| LNG import potentials (Min and Max) | bcma | open | All | collection | Figure | Dispatch (and Expansion) Model | Output | SBG p64 | Methane_3 | for 2022 until 2040
| Methane supply | TWh | open | Cop21 | collection | xlsx | Supply Tool | Output |  | Data5
| Hydrogen supply | TWh | open | Cop21 | collection | xlsx | Supply Tool | Output |  | Data5
| Liquids supply | TWh | open | Cop21 | collection | xlsx | Supply Tool | Output |  | Data5
| Solids supply | TWh | open | Cop21 | collection | xlsx | Supply Tool | Output |  | Data5
| Biomass supply | TWh | open | Cop21 | collection | xlsx | Supply Tool | Output |  | Data5
| Others supply | TWh | open | Cop21 | collection | xlsx | Supply Tool | Output |  | Data5
Bionethane
| Biomethane potentials 2030 in % of 2050 potentials | % | 40 | All | float | Text | Biomethane Tool | - | SBG p64 | Bio_1
| Biomethane potentials 2045 in % of 2050 potentials | % | 90 | All | float | Text | Biomethane Tool | - | SBG p64 | Bio_1 | Why is it 2045? Might be typo and should be 2040?
| Input assumptions used for feedstock potential in 2050 from sequential cropping | collection | open | All | collection | Table | Biomethane Tool | - | SBG p66 | Bio_1
| Input assumptions used for feedstock potential in 2050 from agricultural residues | % | open | All | collection | Table | Biomethane Tool | - | SBG p67 | Bio_1
| Input assumptions used for feedstock potential in 2050 from food waste | % | open | All | collection | Table | Biomethane Tool | - | SBG p67 | Bio_1
| Sustainable potential shares to calculate the sustainable potential for different manure types and per member state | % | open | All | collection | Table | Biomethane Tool | - | SBG p68 | Bio_1
| Input assumptions used for feedstock potential in 2050 from sewage sludge | % | open | All | collection | Table | Biomethane Tool | - | SBG p69 | Bio_1
| Input assumptions used for feedstock potential in 2050 from Municipal Solid Waste (MSW) | % | open | All | collection | Table | Biomethane Tool | - | SBG p69 | Bio_1
| Input assumptions used for feedstock potential in 2050 from waste wood | % | open | All | collection | Table | Biomethane Tool | - | SBG p70 | Bio_1
| Input assumptions used for feedstock potential in 2050 from landscape care wood and roadside verge grass | % | open | All | collection | Table | Biomethane Tool | - | SBG p71 | Bio_1
| Input assumptions used for feedstock potential in 2050 from thinnings | collection | open | All | collection | Table | Biomethane Tool | - | SBG p71 | Bio_1
| Input assumptions used for feedstock potential in 2050 from branches and tops | collection | open | All | collection | Table | Biomethane Tool | - | SBG p72 | Bio_1

## Prices and Costs
Key | Name | Unit | Value | Scenario | Type | Data Format | Tool | I/O | Reference (Report) | Source | Comment
Fuel commodities prices
| Nuclear | EUR/GJ | 0.47 | All | float | Table | Dispatch (and Expansion) Model | Input | SBG p54 | TYNDP 2018 and 2020 | common to all
| Lignite | EUR/GJ | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p54, 26 | Commodities_1 | per country group
| Coal | EUR/GJ | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p54, p26 | ENTSO analysis + Commodities_2 | one for NT, one for Cop21; for the years: 2025, 2030, 2040 and 2050
| Oil | EUR/GJ | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p54, p26 | ENTSO analysis + Commodities_2 | one for NT, one for Cop21; for the years: 2025, 2030, 2040 and 2050
| Natural Gas | EUR/GJ | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p54, p26 | ENTSO analysis + Commodities_2 | one for NT, one for Cop21; for the years: 2025, 2030, 2040 and 2050
| Shale oil | EUR/GJ | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p55, p26 | Estonian TSO | only used for Estonia, for the years: 2025, 2030, 2040 and 2050
Other Prices
| Synthetic Methane | EUR/GJ | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p56, p26 | ENTSO analysis + Commodities_6 | for the years: 2025, 2030, 2040 and 2050
| Biomethane | EUR/GJ | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p56, p26 | Navigant Biomethane Tool | for the years: 2025, 2030, 2040 and 2050
| Renewable hydrogen imports | EUR/GJ | open | NT | collection | Table | Dispatch (and Expansion) Model | Input | SBG p56, p26 | ENTSO analysis + Commodities_4 | the same as Decarbonised hydrogen imports; in NT only one H2 import price
| Decarbonised hydrogen imports | EUR/GJ | open | NT | collection | Table | Dispatch (and Expansion) Model | Input | SBG p56, p26 | ENTSO analysis + Commodities_4 | the same as Renewable hydrogen imports; in NT only one H2 import price
| Renewable hydrogen imports | EUR/GJ | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p56, p26 | ENTSO analysis + Commodities_4
| Decarbonised hydrogen imports | EUR/GJ | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p56, p26 | ENTSO analysis + Commodities_4
| Domestic decarbonised hydrogen via SMR/ATR (LCOH) | EUR/kg_H2 | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p12, 27, 35, 38 | ENTSOs calculation | the values are provided on p35; used for config 3; Cut-in/cut-out price P2G or SMR/ATR
| Hydrogen imports (LCOH) | EUR/kg_H2 | open | GA | collection | Table | Dispatch (and Expansion) Model | Input | SBG p57 | ENTSO assumption | imports of H2 produced with low-carbon electricity (see Storyline report)
Carbon prices
| CO2 price | EUR/t | open | All | time series | Table | Dispatch (and Expansion) Model | Input | SBG p55, p26 | ENTSO analysis + Commodities_3 | one for NT, one for Cop21; for the years: 2025, 2030, 2040 and 2050
Investment costs
| Hydrogen Storage salt cavern (LCOS) | EUR/MWh | 9 | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p40 | Inv_costs_1
| Costs electricity interconnection increase | EUR/km | unclear | Cop21 | None | Text | Dispatch (and Expansion) Model | Input | SBG p40 | Implementation Guidelines | Implementation Guidelines provide Standart costs but warns that those are outdated, an update is still in progress
| Power generation CAPEX | EUR/kW | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p41, 29 | Inv_costs_2 | for Level 1 Capacity Potential; for the years: 2025, 2030, 2035, 2040, 2045 and 2050; NT: Wind on, Wind off, Solar PV (utility-scale), Solar PV (rooftop), CCGT, OCGT; DE & GA: Wind on, Wind off, Solar PV (utility-scale), Solar PV (rooftop); for Level 2 and 3 see SBG p29; Wind on should also include country specific CAPEX (See load factors)
| Power generation OPEX | EUR/kW/a | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p41, 29 | Inv_costs_2 | for Level 1 Capacity Potential; for the years: 2025, 2030, 2035, 2040, 2045 and 2050; NT: Wind on, Wind off, Solar PV (utility-scale), Solar PV (rooftop), CCGT, OCGT; DE & GA: Wind on, Wind off, Solar PV (utility-scale), Solar PV (rooftop); for Level 2 and 3 see SBG p29
| Power generation Lifetime | years | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p41 | Inv_costs_2 | for Level 1 Capacity Potential; for the years: 2025, 2030, 2035, 2040, 2045 and 2050; NT: Wind on, Wind off, Solar PV (utility-scale), Solar PV (rooftop), CCGT, OCGT; DE & GA: Wind on, Wind off, Solar PV (utility-scale), Solar PV (rooftop)
| Electrolyzer CAPEX | EUR/kW | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p41 | Inv_costs_2 | for Level 1 Capacity Potential; for the years: 2025, 2030, 2035, 2040, 2045 and 2050
| Electrolyzer OPEX | EUR/kW/a | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p41 | Inv_costs_2 | for Level 1 Capacity Potential; for the years: 2025, 2030, 2035, 2040, 2045 and 2050
| Electrolyzer Lifetime | years | open | All | collection | Table | Dispatch (and Expansion) Model | Input | SBG p41 | Inv_costs_2 | for Level 1 Capacity Potential; for the years: 2025, 2030, 2035, 2040, 2045 and 2050
| Coal OPEX for decommissioning | EUR/kW | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p42 | Inv_costs_2 | for Level 1 Capacity Potential; for the years: 2025, 2030, 2035, 2040, 2045 and 2050
| Lignite OPEX for decommissioning | EUR/kW/a | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p42 | Inv_costs_2 | for Level 1 Capacity Potential; for the years: 2025, 2030, 2035, 2040, 2045 and 2050
| Dedicated RES CAPEX | EUR/kW | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p42 | ENTSO analysis | for Level 1 Capacity Potential; for the years: 2025, 2030, 2035, 2040, 2045 and 2050
| Dedicated RES OPEX | EUR/kW/a | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p42 | ENTSO analysis | for Level 1 Capacity Potential; for the years: 2025, 2030, 2035, 2040, 2045 and 2050
| Dedicated RES Lifetime | years | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p42 | ENTSO analysis | for Level 1 Capacity Potential; for the years: 2025, 2030, 2035, 2040, 2045 and 2050
| WAAC | % | closed | Cop21 | collection | Text | Dispatch (and Expansion) Model | Input | SBG p28 | na | should be differentiated by country
| Power Generation Variable OPEX | EUR/MWh | closed | All | collection | Text | Dispatch (and Expansion) Model | Input | SBG p28 | na | mentioned in Implementation Guidelines
| EU electrolyser fleet CAPEX | EUR/kW | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p34 | ENTSO analysis with P2G_6 | for the years: 2025, 2030, 2040 and 2050
| EU electrolyser fleet OPEX | EUR/kW/yr | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p34 | ENTSO analysis with P2G_6 | for the years: 2025, 2030, 2040 and 2050
| Cost of repurposing | EUR/MW/km | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p36 | P2G_4 | until 2040 and from 2040
| Cost of new pipeline | EUR/MW/km | open | Cop21 | collection | Table | Dispatch (and Expansion) Model | Input | SBG p36 | P2G_4 | until 2040 and from 2040
| Costs for converting existing salt caverns from methane to hydrogen | EUR/MWh_H2_stored | 167 | Cop21 | float | Text | Dispatch (and Expansion) Model | Input | SBG p37 | P2G_5
| Battery storage costs | collection | closed | All | collection | None | Dispatch (and Expansion) Model | Input | None | None

## Trapunta
Input | Description | Value | Reference |  | Trapunta (Top-down) |  |  |  | Output
[5 empty] | used for all countries except Poland and France where TSOs use own tool |  |  | SBG p17
|  |  |  | Name |  | Unit | Value | Reference
Annual Electricity Demand (for each sector except DH for space and water heating in residential and tertiary sectors) | projected with Ambition Tool or provided by TSOs | open | SBG p17, 45 | [5 empty] | Hourly electricity demand profile
EV related input
Additional EVs | number of additional EVs with respect to training period (step 1); The number of EVs is one of the Ambition Tool results for every market node | closed | SBG p45 | Available patterns | Type A: Electric private cars |  | open | SBG p45
Consumption | average consumption of a specified electric vehicle, expressed in kWh/100 km | closed | SBG p45 |  | Type B: Buses |  | open | SBG p45
Effective usage | average use of a specified vehicle type, divided into weekdays and weekends (each one with a chosen charge profile), expressed in km per day | closed | SBG p45 |  | Type C: Passenger trains |  | open | SBG p45
Daily distribution | Daily distribution of the aforementioned effective usage divided into weekdays and weekends | open | SBG p45 |  | Type D: Heavy goods vehicles |  | open | SBG p45
[5 empty] | Additionally, rail heavy goods and aviation have been calculated and added to the rest of the load profile with an even repartition of daily value within the day. |  | open | SBG p45
[5 empty] | Non-temperature dependent profiles |  | closed | SBG p45
|  |  |  | Generic assumptions | heat pump split between sanitary water and other heat sources |  | closed | SBG p45
Heat pump related input
Comfort temperature | above (conditioning) or below (heating) of which electricity consumptions are expected from consumers. These comfort temperatures could be computed by the model itself starting from historical data or directly inputted. | closed | SBG p48 |  | COP curves for air/air and air/water HPs |  | open | SBG p48
[5 empty] | Default humidity | % | 75 | SBG p48
[5 empty] | Available humidities | % | 0, 25, 50, 75, 100 | SBG p48
[5 empty] | Hybrid HPs start temperature | C | 16 | SBG p48
[5 empty] | Hybrid HPs switch temperature | C | 5 | SBG p48
Addition of electricity transmission and distribution losses

## Ambition Tool
Ambition Tool Input data according to SBG p14
Parameter | Input/Output | Unit | Values | Comment | Reference
Existing houses | Input | no unit | closed |  | SBG p14
Renovation rate | Input | % | closed |  | SBG p14
New houses | Input | % | closed |  | SBG p14
Market shares | Input | % | open |  | SBG p14
Efficiency factor | Input | % | closed |  | SBG p14
CAGR - Industry | Input | no unit | closed | not specified what it stands for | SBG p14
Efficiency factor - Industry | Input | % | closed |  | SBG p14
Market shares - Industry | Input | % | open |  | SBG p14
Markets shares - Transport | Input | % | open |  | SBG p14
Pkm/Tkm - Transport | Input | % | open |  | SBG p14
Load factor - Transport | Input | % | open | see EV profiles | SBG p14
Country activity - Transport | Input | % | open |  | SBG p14
km/vehicle/year - Transport | Input | - | open |  | SBG p14
Market shares - Agriculture | Input | % | closed |  | SBG p14
Ambition Tool published data: [Data4] Demand Figures (220228_Updated_Energy_Demand.xlsx)
Sheet 1: Ambition Tool Ouput
Parameter | Country | sector | year | energy carrier/technology | Unit
Input Market shares
Market share | for all Countries + total EU27 | Residential | 2018, 2030, 2040, 2050 | Biomass Boiler | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Coal Boiler | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | District Heating Biomass/Waste | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | District Heating Coal | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | District Heating Electricity + Ambient Heat | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | District Heating Gas | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | District Heating Oil | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Electric Direct | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Electric Heat Pump Air Source | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Electric Heat Pump Ground Source | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Hybrid Electric Part | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Hybrid Gas Part | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Hydrogen Fuel Cells | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Methane Boiler | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Methane Heat Pumps | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Methane Micro CHP | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Oil Boiler | 1
Market share | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | Solar | 1
Output Energy demand
Energy Demand | for all Countries + total EU27 | All sectors | 2018, 2030, 2040, 2050 | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others | not available
Energy Demand | for all Countries + total EU27 | Residential | 2018, 2030, 2040, 2050 | All | not available
Energy Demand | for all Countries + total EU27 | Tertiary | 2018, 2030, 2040, 2050 | All | not available
Energy Demand | for all Countries + total EU27 | Cooking | 2018, 2030, 2040, 2050 | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others | not available
Energy Demand | for all Countries + total EU27 | Electrical appliances | 2018, 2030, 2040, 2050 | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others | not available
Energy Demand | for all Countries + total EU27 | Heating_cooling | 2018, 2030, 2040, 2050 | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others | not available
Energy Demand | for all Countries + total EU27 | Industry | 2018, 2030, 2040, 2050 | All | not available
Energy Demand | for all Countries + total EU27 | Non-energy use | 2018, 2030, 2040, 2050 | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others | not available
Energy Demand | for all Countries + total EU27 | Other demand | 2018, 2030, 2040, 2050 | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others | not available
Energy Demand | for all Countries + total EU27 | Others | 2018, 2030, 2040, 2050 | All | not available
Energy Demand | for all Countries + total EU27 | Transport | 2018, 2030, 2040, 2050 | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy Demand | for all Countries + total EU27 | Energy branch | 2018, 2030, 2040, 2050 | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy Demand | for all Countries + total EU27 | Agriculture | 2018, 2030, 2040, 2050 | All | not available
Sheet 2: Transportation data
Parameter | Subsector | Unit
Transportation Data (INPUT)
all parameters for the years 2025, 2030, 2040 and 2050
all parameters for each country and total EU27
Passenger transport activity | 2 wheelers | mio pkm
Electric vehicles (EV) | 2 wheelers | % mkt share
Integrated combustion engine vehicles (ICE) | 2 wheelers | % mkt share
Passenger transport activity | Busses | mio pkm
Integrated combustion engine vehicles (ICE) | Busses | % mkt share
Electric vehicles (EV) | Busses | % mkt share
Fuel cell vehicles (FCEV) | Busses | % mkt share
Plugin hybrid electric vehicles (PHEV) | Busses | % mkt share
Hybrid electric vehicles (HEV) | Busses | % mkt share
Methane vehicles (CNG, LNG) | Busses | % mkt share
Passenger & freight transport activity | Domestic & Intra EU aviation | mio pkm / moi tkm
Electric vehicles (EV) | Domestic aviation | % mkt share
Hydrogen vehicles (HV) | Domestic aviation | % mkt share
Kerosine vehicles (KV) | Domestic aviation | % mkt share
Electric vehicles (EV) | Intra EU aviation | % mkt share
Hydrogen vehicles (HV) | Intra EU aviation | % mkt share
Kerosine vehicles (KV) | Intra EU aviation | % mkt share
Passenger & freight transport activity | International aviation | mio pkm / mio tkm
Electric vehicles (EV) | International aviation | % mkt share
Hydrogen vehicles (HV) | International aviation | % mkt share
Kerosine vehicles (KV) | International aviation | % mkt share
Freight transport activity | Heavy trucks | mio tkm
Electric vehicles (EV) | Heavy trucks | % mkt share
Fuel cell vehicles (FCEV) | Heavy trucks | % mkt share
Integrated combustion engine vehicles (ICE) | Heavy trucks | % mkt share
Hybrid combustion engine vehicles (HICE) | Heavy trucks | % mkt share
Methane vehicles (CNG, LNG) | Heavy trucks | % mkt share
Freight transport activity | Light trucks | mio tkm
Electric vehicles (EV) | Light trucks | % mkt share
Fuel cell vehicles (FCEV) | Light trucks | % mkt share
Integrated combustion engine vehicles (ICE) | Light trucks | % mkt share
Methane vehicles (CNG, LNG) | Light trucks | % mkt share
Plugin hybrid electric vehicles (PHEV) | Light trucks | % mkt share
Freight transport activity | InterNational shipping | mio tkm
Hybrid hydrogen vehicles (HHV) | InterNational shipping | % mkt share
Integrated combustion engine vehicles (ICE) | InterNational shipping | % mkt share
Methane vehicles (CNG, LNG) | InterNational shipping | % mkt share
Freight transport activity | National shipping | mio tkm
Hybrid hydrogen vehicles (HHV) | National shipping | % mkt share
Integrated combustion engine vehicles (ICE) | National shipping | % mkt share
Methane vehicles (CNG, LNG) | National shipping | % mkt share
Passenger transport activity | Passenger cars | mio pkm
Electric vehicles (EV) | Passenger cars | % mkt share
Fuel cell vehicles (FCEV) | Passenger cars | % mkt share
Integrated combustion engine vehicles (ICE) | Passenger cars | % mkt share
Methane vehicles (CNG, LNG) | Passenger cars | % mkt share
Plugin hybrid electric vehicles (PHEV) | Passenger cars | % mkt share
Freight transport activity | Rail freight | mio tkm
Passenger transport activity | Rail passengers | mio pkm
Electric vehicles (EV) | Rail | % mkt share
Fuel cell vehicles (FCEV) | Rail | % mkt share
Integrated combustion engine vehicles (ICE) | Rail | % mkt share
Sheet 3: OUTPUT_ALL
Output ALL (Figure 5)
For EU 27 there is no Output_type defined
all parameters for the years 2015, 2030, 2040 and 2050 except Residential and tertiary market share inputs which are for 2015 instead of 2018
all parameters for each country and total EU27
Parameter | Sector | Subsector | Sector_viz_platform | Energy_carrier | Unit
Energy demand | Agriculture | Agriculture | Heating_cooling | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Energy branch | Energy branch | Energy branch | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Industry | Low enthalpy heat | Heating_cooling | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Industry | Steam processes | Heating_cooling | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Industry | Other processes | Heating_cooling | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Industry | Electrical appliances | Electrical appliances | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Industry | Non-energy use | Non-energy use | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Others | Other demand | Other demand | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Residential | Electrical appliances | Electrical appliances | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Residential | Space heating | Heating_cooling | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Residential | Water heating | Heating_cooling | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Residential | Cooling | Heating_cooling | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Residential | Cooking | Cooking | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Tertiary | Space heating | Heating_cooling | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Tertiary | Water heating | Heating_cooling | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Tertiary | Cooking | Cooking | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Tertiary | Cooling and Electrical appliances | Electrical appliances | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Transport | 2 wheelers | Transport | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Transport | Passenger cars | Transport | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Transport | Busses | Transport | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Transport | Light trucks | Transport | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Transport | Heavy trucks | Transport | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Transport | Rail | Transport | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Transport | Aviation | Transport | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Energy demand | Transport | Shipping | Transport | Electricity, Hydrogen, Methan, Liquids, Solids, Biomass, Others, All | not available
Input: Market share | Residential | Space heating | Heating_cooling | see energy carrier/technology column in Input Market shares above | no unit
Input: Market share | Tertiary | Space heating | Heating_cooling | see energy carrier/technology column in Input Market shares above | no unit
Review Conclusions:
The sheet "Ambition Tool Output" includes input data for market shares for space heating technologies used in the residential and tertiary sector. The data is provided for the years 2018, 2030, 2040 and 2050. The same data with different values is also stated in the sheet "OUTPUT_ALL". Here, however, the given years are 2015, 2030, 2040 and 2050. Are those adjusted values and thus an ouput?
All output data is reported for the years 2015, 2030, 2040 and 2050.
Input data for transportation is given for the years 2025, 2030, 2040 and 2050. The energy demand for the transport sector is reported for the years 2015, 2030, 2040 and 2050.

## STEERS addition
Key | Name | Unit | Value | Scenario | Type | Data Format | Input to | Output from | Reference | Source | Comment
| share of full load hours at less favourable sites |  |  | all | collection | csv/xlsx | Dispatch (and Expansion) Model | Trapunta? Supply Tool? |  | https://openenergymodels.net/ | openentrance; atlite
| charging profiles of hydro power reservoir |  |  | all | time series | csv/xlsx | Dispatch (and Expansion) Model |  |  | https://eepublicdownloads.entsoe.eu/clean-documents/sdc-documents/MAF/2019/Hydropower_Modelling_New_database_and_methodology.pdf |  | https://eepublicdownloads.entsoe.eu/clean-documents/sdc-documents/MAF/2019/Hydropower_Modelling_New_database_and_methodology.pdf
| prosumer expansion |  |  | all | collection | [5 empty] | needs an assumption
| cost for energy and power of storage |  |  | all | collection |  |  |  |  | DEA: https://ens.dk/en/our-services/projections-and-models/technology-data/technology-data-energy-storage
Option A
makes use of predeveloped profiles for residential heating and EVs.
| demand profiles residential heating |  |  | all | time series | csv/xlsx | Dispatch (and Expansion) Model |  |  | Ruhnau et al.: Time series of heat demand and heat pump efficiency for energy system modelling, https://www.nature.com/articles/s41597-019-0199-y, see OPSD for data; Heitkoetter et al.: Regionalised heat demand and power-to-heat capacities in Germany – An open dataset for assessing renewable energy integration, https://www.sciencedirect.com/science/article/pii/S0306261919318483#m0005
| demand profiles EVs |  |  | all | time series | csv/xlsx | Dispatch (and Expansion) Model |  |  | emobpy: https://www.nature.com/articles/s41597-021-00932-9 ; https://www.ffe.de/en/publications/charging-infrastructure-and-grid-expansion-needs-an-overview-of-real-world-charging-load-datasets/
Option B
integrates the generation of heating and EV charging profiles into the TYNDP model.
| heat sector data (technology, demand, population) | [8 empty] | can use the same assumptions as currently or, for example, base this on the reference above. Some data is already collected (weather, EV data).
weather data
EV data (rollout, capacities, distances, electricity demand)
Note on K9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Ruhnau: national ts for 16 European countries; Heitkoetter: Heat demand for each administrative district in DE

## Comments
Comments on Data in the TYNDP 2022
Major points
- It should be better visible what is Input Data and what is Output/processed data
- NT hourly electricity demand is not published
- WACC and power plant efficiencies are missing
- Starting grid and predefined grid data of Gas infrastructure (H2 and CH4) could not be found
o Could be published extra by ENTSO-G
- Ambition tool unit of energy demand is not reported
- Much of the data of the TSO data collection is not findable
o PEMMDB data appears to be not published
- All data should be published in a way that is easily readable by machines, e.g. csv files
o E.g. all costs and prices data is only published in Tables in the SBG and not as data files
- Since the Dispatch and Expansion models are proprietary and thus a black box, a complete input data list could not be compiled.
- Metadata is missing in all Data files
Climatic database
- Pan-European Climate Database (PECD)
- Can be downloaded here: https://2022.entsos-tyndp-scenarios.eu/download/
- Primary source should be mentioned as well: https://data.dtu.dk/collections/Pan-European_wind_and_solar_generation_time_series_PECD_2021_update_/5939581
- For solar the SBG says: "current and future technologies are not differentiated, since the evolution of technology is assumed to result in a decline of investment cost rather than improvement of load factors" [SBG p53]. However there are two time series for solar load factors in the published data: 2025_edition and 2030_edition. Which one is used in TYNDP 2022?
- What does the editions 2025 and 2030 refer to in the PECD data?
o RES built until 2025 and RES built afterwards? (However the SBG says that separate load factors to account for RES design improvement are used for onshore wind farms power installed before 2020 and after 2020 [SBG p53])
TRAPUNTA
- Better description of the tool and a complete list of used input data should be provided.
- It is unclear whether all necessary data is published to reproduce the obtained results from Trapunta
Questions
- What are investment costs in National Trends for? [SBG p41]
o Investment to ensure adequacy in 2040 is only in flexible technologies and not RES [SBG p12, 28]
- Why do annual electricity (native) demand values do not match the summed up hourly electricity demand time series? [see Excel files Electricity_Modelling_Results and Demand_TimeSeries]
o Is it because of adjustments of Ambition Tool and Trapunta output data?
o How are those adjustments conducted?